勁電科技 新產品系統整合應用圖解說明

APS (Auto Power Selector)–多電源輸入供電選擇器系統整合應用圖解說明

SCBP(Series Connection Boost Protector)-串聯升壓供電保護器系統整合應用圖解說明1

SCBP(Series Connection Boost Protector)-串聯升壓供電保護器系統整合應用圖解說明2

0

BBVC(Buck/Boost Voltage Converter)–升降壓轉換器系統整合應用圖解說明1

BBVC(Buck/Boost Voltage Converter)–升降壓轉換器系統整合應用圖解說明2

O4PSW (Outdoor 4 Ports PoE Switch)–室外4埠乙太網路供電交換機系統整合應用圖解說明01

O4PSW (Outdoor 4 Ports PoE Switch)–室外4埠乙太網路供電交換機系統整合應用圖解說明02

O4PSW (Outdoor 4 Ports PoE Switch)–室外4埠乙太網路供電交換機系統整合應用圖解說明03

# Text boxes

11-14VDC

18-30VDC

11-14VDC

PoE-PSE 30W

O4PSW: Outdoor 4Port PoE Switch

室外4埠乙太網路供電交換機

DC UPS

18-28VDC

DC UPS

SCBP: Series Connection Boost Protector

串聯升壓供電保護器

18-30VDC

BBVC: Buck/Boost Voltage Converter

升降壓轉換器

18-30VDC

18-30VDC

APS: Auto Power Selector

多電源輸入供電器

11-14VDC

PoE-PSE 30W

18-30VDC

18-30VDC

DC UPS

18-30VDC

18-30VDC

18-30VDC

Fuel Green Power

燃料電池

18-30VDC

Street Power

路燈電源

APS: Auto Power Selector

多電源輸入供電選擇器

APS: Auto Power Selector

多電源輸入供電選擇器

11-14VDC

11-14VDC

RJ-45 1000Mbps

乙太網路網線

PoE-PSE 72W Passive

直通乙太網路供電

DC UPS

DC UPS

DC UPS

DC UPS

18-30VDC

18-30VDC

18-30VDC

18-30VDC

18-30VDC

18-30VDC

18-30VDC

18-30VDC

18-30VDC

18-30VDC

18-30VDC

18-30VDC

18-30VDC

18-30VDC

18-30VDC

18-30VDC

11-14VDC

11-14VDC

11-14VDC

11-14VDC

APS: Auto Power Selector

多電源輸入供電選擇器

APS: Auto Power Selector

多電源輸入供電選擇器

APS: Auto Power Selector

多電源輸入供電選擇器

APS: Auto Power Selector

多電源輸入供電選擇器

並聯 (接續備援)

18~30VDC

並聯 (接續備援)

18~30VDC

Series (串聯升壓)

48VDC

SCBP: Series Connection Boost Protector

串聯升壓供電保護器

Speed Dome

IR IP Cam

Telecom / NAS Server

Sensor Server

Outdoor AP

DVR Server

NVR Server

IR Speed Dome

DC UPS

DC UPS

DC UPS

DC UPS

18-30VDC

18-30VDC

18-30VDC

18-30VDC

18-30VDC

18-30VDC

18-30VDC

18-30VDC

18-30VDC

18-30VDC

18-30VDC

18-30VDC

18-30VDC

18-30VDC

18-30VDC

18-30VDC

11-14VDC

11-14VDC

11-14VDC

11-14VDC

APS: Auto Power Selector

多電源輸入供電選擇器

APS: Auto Power Selector

多電源輸入供電選擇器

APS: Auto Power Selector

多電源輸入供電選擇器

APS: Auto Power Selector

多電源輸入供電選擇器

並聯 (接續備援)

18~30VDC

並聯 (接續備援)

18~30VDC

Series(串聯)

24VDC

Series(串聯)

24VDC

SCBP: Series Connection Boost Protector

串聯升壓供電保護器

APS: Auto Power Selector

多電源輸入供電選擇器

並聯 (接續備援)

24VDC

Telecom / NAS Server

Sensor Server

Outdoor AP

DVR Server

NVR Server

IR Speed Dome

Speed Dome

IR IP Cam

DC UPS

24-28VDC

18-20VDC

11-14VDC

BBVC: Buck/Boost Voltage Converter

升降壓轉換器

18-20VDC

PoE-PSE 30W

PoE-PSE 30W

O4PSW: Outdoor 4Port PoE Switch

室外4埠乙太網路供電交換機

DC UPS

BBVC: Buck/Boost Voltage Converter

升降壓轉換器

18-20VDC

11-14VDC

18-20VDC/4A

(18-28VDC)

11-14VDC

BBVC: Buck/Boost Voltage Converter

升降壓轉換器

Notebook Vehicle Charging System

筆記型電腦車上充電系統

(NB Portable Backup Power System)

(筆記型電腦行動電源系統)

18-20VDC

PoE-PSE 30W

PoE-PSE 30W

O4PSW: Outdoor 4Port PoE Switch

室外4埠乙太網路供電交換機

PoE-供電端15W

PoE-供電端30W

定向扇形覆蓋天線

2.4 or 5GHz 14dBi

水平角度 60-90 度

APM-103R

多組模組雙頻無線

傳輸率達960Mbps

流量頻寬達320Mbps

定向板狀天線

5GHz 20dBi

傳輸距離5–8Km

PoE-供電端15W

18-28VDC

18-28VDC

18-28VDC

18-28VDC

11-14VDC

DC UPS

11-14VDC

18-20VDC

12VDC to 48VDC

1埠 PoE-供電端72W直接供電

APS: Auto Power Selector

多電源輸入供電選擇器

BBVC: Buck/Boost Voltage Converter

升降壓轉換器

O4PSW: Outdoor 4Port PoE Switch

室外4埠乙太網路供電交換機

PoE-供電端30W 標準偵測乙太網路供電

Data In/Output

資料,影像進出

18-20VDC

11-14VDC

PoE-供電端30W

11-14VDC

18-20VDC

BBVC: Buck/Boost Voltage Converter

升降壓轉換器

NVR網路錄影主機

PoE-供電端30W

O4PSW: Outdoor 4Port PoE Switch

室外4埠乙太網路供電交換機

偵測器主機

DC UPS

一般市電

電力來源

PoE-供電端15W

18-28VDC

PoE-供電端30W

18-28VDC

PoE-供電端30W

偵測器主機

18-28VDC

Data In/Output

資料,影像進出

PoE-供電端15W

PoE-供電端30W

PoE-供電端30W 標準偵測乙太網路供電

O4PSW: Outdoor 4Port PoE Switch

室外4埠乙太網路供電交換機

路燈電源

或

一般市電

電力來源

NVR網路錄影主機

r

O4PSW: Outdoor 4Port PoE Switch

室外4埠乙太網路供電交換機